Alaska Intertie Safety Patrol 		Snow Conditions Report

Data Observations

Tower: 5 14 23 32 41 50 59 69 79 90 98 120	129 140 150 159	168 181 191 203     213 222 231

Date:_________________________________

Time:_________________________________

Temp:_________________________________

Weather/Wind:________________________________

Back Span 	Ahead Span

Estimated Snow Diameter on East Phase:

(Conductor Dia is 1.96”, Phase Spacer is 18”, Insulator Bell is 10” Dia)_______________in._______________in.

Estimated Portion of Span Loaded:____________ %_______________%

Insulator Inclination:_____________________________

Stability of Snow on Line (i.e., is line unloading?):_____________________________

Snow Depth at Tower Guy (Back/Ahead):_____________in.______________in.

Undisturbed snow consistent location

Snow Density:

Volume of Snow:_______________ml.

Volume after Melting:_______________ml.

Additional Information:						Est. Portion of Line       Insulator

Other Phase Conditions if Different Than East Phase:   Est. Snow Dia.	Loaded 		         Inclination

West Phase: Back Span ____________in.___________%______________®

West Phase: Ahead Span ____________in.___________%______________®

Middle Phase: Back Span ____________in.___________%______________®

Middle Phase: Ahead Span____________in.___________%_______________®

Est. Snow Diam:	 Est. Portion of Span

Static Wire Conditions if Different Than East Phase:	(wire Dia is 3/8”)	Loaded:

West Static Wire: Back Span___________in._________%

West Static Wire: Ahead Span___________in._________%

East Static Wire: Back Span___________in._________%

East Static Wire: Ahead Span___________in._________%

Other Observations: ____________________________________________________________________

__________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________

Photos, Disk #

Picture #_____________________________________________________________________________

Picture #_____________________________________________________________________________

Picture #_____________________________________________________________________________

Picture #_____________________________________________________________________________